655-510 General Practice Optometry

Dispensing Case Report – Multifocal Fittings

Name: Daniel Chew

Student No: 150171

Word Count: 1955 words

Mrs E, a 57 year old female presented to the Victorian college of Optometry on 22nd March 2006, with the presenting complain that her new multifocal glasses, purchased only a week previously were not as clear in the distance as her previous glasses and that there was so much distortion in the reading part of the lens that she could not adapt to it.  Furthermore, Mrs E mentioned that when driving, the break light from cars ahead would appear to stand out towards her in a “star” pattern.  What was immediately noticeable was that the frame was not properly adjusted to the patient; the temples did not follow the curvature of the ear, and as well as that there was no pantoscopic tilt present.  This case report aims to give an account for different types of progressive addition lenses (PALs) available (hard vs soft design), various alternatives to PALs with their advantages and disadvantages, guidelines to the proper fitting of lenses, and possible patient scenarios with solutions.

The concept for the first progressive addition lens is believed to have been around since 1907.(Wakefield 1994)  Since the first successful launch in Europe 1957, the development of progressive addition lenses has changed and improved designs dramatically.  The overall concept of this type of lens was to create a one piece lens with variable surface curvature, which allows a smooth increase in surface power, giving an appropriate near addition.  Performance with progressive addition lenses has demonstrated to be slightly diminished in compared with single vision lenses.(Selenow, Bauer et al. 2002).  Progressive addition lenses have three distinct zones – distance, intermediate and near

The distance portion is located superiorly on the lens and incorporates the distance prescription.

The near portion is located inferiorly on the lens and incorporates the required addition.

The intermediate channel connects both distance and near portions whilst increasing in positive power.

Obvious advantages of progressive addition lens wear include that this type of lens contains an intermediate channel.  Cosmetically, PALs are superior to bifocals or trifocals in that there is no line, and also there is no image jump when the user’s eye crosses the segment line. Disadvantages of PALs include a small field of view (in comparison to bifocals) for distance and near, the cost of the lenses (which is considerably more than single vision lenses or bifocals) and the difficulty with adaptation which in turn is associated with the peripheral distortion. This peripheral distortion is due to surface astigmatism that increases unwanted astigmatic error that can blur a patient’s view and limit their field of clear vision.

Unwanted astigmatic error is a result of the particular lens design, and is influenced by several factors.  The near addition power is correlated with the amount of astigmatism, and generally as the near addition doubles from +1.00 dioptre to +2.00 dioptres, the amount of astigmatism doubles as well.  The length of the intermediate channel also influences the amount of unwanted astigmatism, as shorter corridors produce faster power changes and higher levels of astigmatism.

The advantage of short-corridor progressive addition lenses however is not only the ability to fit into a shallower frame, but that smaller eye movements are required to direct the eyes to the required part of the lens.  Conversely, progressive addition lenses with longer intermediate corridors are manufactured with slower, more subtle and lower levels of astigmatism, although larger eye movements are required.  Additionally, unwanted astigmatic error is affected by the width of distance and near zones.  Though wider zones obviously provide patients with clearer areas of vision, the astigmatism is subsequently confined to a smaller zone, which produces higher levels of astigmatism.

Progressive addition lenses are generally classified under two large categories, or design philosophies, which is based upon the relative magnitude and distribution of surface astigmatism. (Fannin 1996).  A “hard” design of a progressive addition lens is characterised by a design whereby the edges of the channel and reading area are marked by high levels of peripheral distortion (rapid increase in unwanted astigmatism).  There is also a narrow intermediate corridor, the reading area is set as high as possible and the lens acts more like a bifocal.  Clinical performance comprises good distance and near, however poor intermediate performance and great amounts of peripheral swim.  “Soft” design progressive lenses embody a design in which the edges of the channel and reading may be smaller but incorporate less dramatic increases in unwanted distortion.

Options of spectacles for near vision other than progressive addition lenses can include single vision near, lookovers, monovision, bifocals or trifocals. Each entail their own advantages and disadvantages and these options should not be overlooked as viable alternatives.  Table 1. summarises both advantages and disadvantages of spectacles other than progressive addition lenses that can be used for reading.  Several studies have shown high preferences of progressive lenses over single vision lenses. (Krefman 1991; Bachman 1992).

| Type of Lens | Advantages | Disadvantages |
| --- | --- | --- |
| Single Vision Near | These have the widest field of view, are the cheapest and are the easiest to adapt to | Since corrected only for near working distances, there will be no distance vision, and poor intermediate vision if the addition is high |
| Lookovers | These also have a wide field of view at near, are reasonably cheap and too are easy to adapt to | Lookovers rely on uncorrected distance acuity (or correction with contact lenses), have poor intermediate vision if the addition is high and are poor cosmetically |
| Monovision | These also have a wide near field of view, are cheap, and provide distance and near vision | Disadvantages of monovision include very difficult adaptation and like single vision near and lookovers, intermediate vision is poor if the addition is high. |
| Bifocals | These offer distance and near vision corrections in a single lens | A comparatively decreased field of view at near and distance, as well as poor intermediate vision if the near addition is high |
| Trifocals | Trifocals offer distance, intermediate and near vision | These lenses possess a decreased field of view at near and distance compared to bifocals, are expensive and are difficult to adapt to. |

Table 1. Alternatives, with their advantages and disadvantages to PALs.

Troubleshooting multifocal problems, such as that with my experience on dispensing duty whereby Mrs E could not adapt to her narrow reading area is essential to any good dispensary or practice.  Logically and systematically all aspects of the spectacles should be checked to overcome patient non-tolerance.  As Mrs E was sitting directly in front of me, I had firstly decided to check the fitting heights of the lenses.  By asking the patient where they find it most natural to wear their glasses, accurate fitting heights can be assessed.  Fitting heights errors have been described as being in the vicinity of 5-6 mm.  Dispenser fitting errors can be as large as 2 mm, with the added effect of pantoscopic tilt lowering the fitting height by another 2mm and lastly the effect of gravity dropping the frames during usual wear.  The reason I firstly checked fitting heights was because Mrs E symptoms were similar to those of a patient whose fitting height was too low; that is, general blurriness, and difficulty with near vision.

Although the presenting complaint of car breaklights appearing as a star shaped lights seemed odd at the time, it was not odd once I tried to mark segment heights with a pen and also when I had the glasses in hand.  After questioning, Mrs E revealed that, like many people, her morning routine included putting on makeup and fixing her hair.  She had mentioned that she used hairspray, of which some of the molecules had been sprayed onto the lens surface.  This in turn, given the correct conditions with car breaklights, would create a diffractive optical system in which light from the car breaklight would diffract from the molecules, giving a source of light the appearance as a star shape.  Uncorrected astigmatism, or unwanted astigmatism from progressive addition lenses could also cause this phenomenon.  Pupil size could also play a role because as the pupil dilates, aberrations from the more peripheral parts of the cornea increase, reducing the image contrast (Oshika, Klyce et al. 1999). Additionally, as compared to the central cornea, the peripheral cornea is known to scatter more light so pupil dilation also increases stray light within the eye (Bex and Edgar 1995; Bex, Edgar et al. 1995).  Mrs E was thus explained that if she applied hairspray without her glasses, this would minimise the problem of car breaklights appearing as stars.

The fitting of progressive lens to a frame is very important, as certain steps need to be taken to ascertain whether a frame is suitable.  These include verifying the patient’s preferred wearing position, adjusting for positive facial wrap, setting the vertex distance to be approximately 12-14 mm away from the cornea, and to adjust the frame for pantoscopic tilt. As Mrs E frame was not adjusted at all, these had to be done even though the lenses were already cut into the frame.  Pantoscopic tilt is the term given to the adjusting the frame so that there is a compromise between the two positions of straight-gaze and downgaze.  The amount of tilt should be ~8-12 degrees, and this adjusting not only minimises the astigmatism of oblique incidence but also increases the field of view at near.  This was completed with Mrs E multifocals, and immediately she had noticed that reading was much easier.

Fig. 1 Vertex distance and pantoscopic tilt

http://www.varilux-university.org/E_LEARNING/E08_gav/Guide_EN.pdf

Fig. 2 Influence of changed pantoscopic angle.  The diagram illustrates how increasing pantoscopic tilt decreases the amount of peripheral distortion as well as increases the usable area of the lens (near portion).

http://www.2020mag.com/ce_article.asp?page=ce/3072/lesson.htm

These several steps, as well as obtaining monocular pupil distances, ensure proper fitting of a multifocal lens for a patient. After marking the patient’s fitting height on the frames to be purchased, it is then a good idea to check whether lens actually fits into the frame.  This can be easily achieved by using layout chart such as those provided by “EyeTalk”.  This step would be suitable for situations where not only optometrists, but dispensers, are unsure as to the lens design or suitability of the frame.  The dispensing of a pair of progressive addition lenses does not only revolve around fitting, but also in terms of advice to patients; i.e. demonstrations of distance, intermediate and near portions of the lens, the unusable peripheral portions of the lens and also warning patients regarding adaptation to the lens.  By taking these necessary steps, adaptation for patients can be made easier as the spectacles they have purchased are adjusted for efficient use.

To conclude, I have decided to include this table of patient symptoms/scenarios and possible solutions to their problem in regards to progressive addition lenses.

| Patient symptoms/scenario | Possible Solution |
| --- | --- |
| Patient complaint is that vision blurs and moves | Increase the facial wrap of the frame |
| Patient complains is that they have to move the reading material to the side to see clearer | This could mean that that the pupil distance is wrong. Taking monocular pupil distances and remaking the lens will solve this problem. |
| Patient complaint is that there is a narrow reading area. | By adding pantoscopic tilt, and fitting the lower part of the lens closer to the eye, this would increase the field of view. Fitting heights should also be checked. |
| Patient complaint is of blurry distance vision and has to lower their head to see clearly. | The lenses are fitting too high, so adjusting the frame or remaking the lens will solve this problem. |
| Patient complaint of lifting their head significantly to read. | This in essence is the opposite to the last problem. The fitting heights in this case are too low and again, adjusting the frame or remaking the lens will solve the problem. |

Table 2. Patient scenarios and possible solutions

REFERENCES

Bachman, W. G. (1992). "Computer-specific spectacle lens design preference of presbyopic operators." J Occup Med 34(10): 1023-7.

Bex, P. J. and G. K. Edgar (1995). "Shifts in the perceived location of a blurred edge increase with contrast." Percept Psychophys 57(8): 1187-9.

Bex, P. J., G. K. Edgar, et al. (1995). "Sharpening of drifting, blurred images." Vision Res 35(18): 2539-46.

Fannin, T. a. T. G. (1996). "Clinical Optics, 2nd Ed. Stoneham: Butterworth-Heinemann." 250.

Krefman, R. A. (1991). "A comparative evaluation of Readables to single vision lenses." J Am Optom Assoc 62(9): 676-9.

Oshika, T., S. D. Klyce, et al. (1999). "Changes in corneal wavefront aberrations with aging." Invest Ophthalmol Vis Sci 40(7): 1351-5.

Selenow, A., E. A. Bauer, et al. (2002). "Assessing visual performance with progressive addition lenses." Optom Vis Sci 79(8): 502-5.

Wakefield, K. (1994). Bennett's Ophthalmic Prescription Work. London, Butterworth-Heinemann.